## Slide 1: P.A. COLLEGE OF ENGINEERING DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
SynCura: Predictive ICU Monitoring System Using Attention-Based LSTM
Real-time in-hospital mortality risk with SHAP + temporal-attention explainability
UNDER THE GUIDANCE OF TEAM MEMBERS
Guide Name (TBD) Abdul Ahad Ikkeri - 4PA24CS002, Fathima Reeha - 4PA24CS026, Fizan Feroz - 4PA24CS032
Designation (TBD)

## Slide 2
P.A. COLLEGE OF ENGINEERING
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
ABSTRACT
ICU deterioration is a leading cause of preventable in-hospital mortality; static scores like NEWS2 miss temporal trends.
SynCura uses an attention-based LSTM on 12 features x 90-minute windows with FastAPI backend and React dashboard.
Trained and evaluated on PhysioNet 2012 Challenge data with in-hospital mortality labels (4,000 stays).
Deployed 3-model ensemble (e12+e13+c53): validation AUC 0.840, fresh unseen holdout AUC 0.834.
Provides real-time risk scoring with SHAP and attention explainability; research prototype, not a medical device.

## Slide 3
P.A. COLLEGE OF ENGINEERING
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
INTRODUCTION
ICU mortality ranges 10-29%; early detection of deterioration significantly improves outcomes.
Current practice relies on NEWS2, SOFA and APACHE-II with static thresholds and manual calculation.
These scores fail to capture temporal trends and have limited sensitivity for early warning.
Objective 1-2: build attention-LSTM mortality-risk model with full-stack FastAPI and React system.
Objective 3-5: add SHAP + attention explainability, compare against NEWS2, enable scenario simulation.

## Slide 4
P.A. COLLEGE OF ENGINEERING
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
LITERATURE SURVEY
Alshwaheen et al., IEEE Access 2021: LSTM-RNN + GA on MIMIC-III, AUROC 0.933.
Choi et al., IEEE JBHI 2020 (DEWS): BiLSTM + attention, AUROC 0.880, beats NEWS2.
Li et al., IEEE Access 2025 (ARLF): attention residual LSTM-FCN, +0.073 AUC from attention.
Zheng et al., JMIR 2025 (Base, TBAL): time-aware BiLSTM-attention, dynamic AUROC 0.936. Adaptation target.
PULSE-ICU, arXiv 2025: Longformer foundation model, mortality AUROC 0.887.
GARLIC, arXiv 2026: graph attention on PhysioNet 2012/2019 + MIMIC-III, SOTA AUROC.
Yan et al., PeerJ 2026: Informer/LSTM/GRU/Transformer stacking, AUROC 0.95 internal.
TA-RNN-Hybrid, arXiv 2026: SNOMED embeddings + dual attention, improved AUC and F2.
Scheid et al., Nature Commun. 2025: wearable RNN, AUROC 0.89 with 17h advance warning.
Wang et al., npj Digit. Med. 2026 (EAEWS): expert-augmented rules, AUROC over 0.80 with transparency.
4

## Slide 5
P.A. COLLEGE OF ENGINEERING
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
PROBLEM STATEMENT
ICU patients need continuous risk assessment, but bedside scores use single-timepoint thresholds.
NEWS2 / SOFA / APACHE-II require manual calculation and ignore vital-sign trajectories.
Result: late detection, alarm fatigue and limited sensitivity for early deterioration.
Need: automated model that learns temporal patterns from streaming vitals and labs.
Need: interpretable output so clinicians see which vitals and timepoints drove the risk.

## Slide 6
P.A. COLLEGE OF ENGINEERING
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
PROPOSED METHODOLOGY
Dataset: PhysioNet 2012 Challenge, 4,000 ICU stays, 37 variables over 48 hours, mortality labels.
Features (12): HR, RespRate, Temp, SysBP, DiasBP, SpO2 (via SaO2) + GCS, BUN, Creatinine, WBC, Platelets, Glucose.
Preprocessing: 90-min sliding windows, causal per-window interpolation, train-only z-score, patient-level 80/20 split.
Model: 2-layer LSTM-96 with additive temporal attention, BatchNorm, dropout 0.3, weighted BCE, Adam with step decay.
Training: full set-a plus 80% set-b, early stopping on val AUC; 3-model logit-averaged ensemble for deployment.
System: Vitals to FastAPI /ingest to SQLite to ensemble scorer (0-100) to React dashboard and Discord/Telegram alerts.
5

## Slide 7
P.A. COLLEGE OF ENGINEERING
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
WORK DONE
Deployed 3-model AttentionLSTM ensemble (e12+e13+c53, 12 features x 90-min window) for in-hospital mortality risk prediction.
Validation AUC 0.840; fresh unseen 20% set-B holdout AUC 0.834 (95% CI 0.825-0.843); one-time locked slices 0.828 / 0.818.
Operating point 0.70 gives precision approx. 0.50 at recall approx. 0.48 (holdout sensitivity 80.3%, specificity 75.2%).
FastAPI backend live: /ingest real-time scoring, /patients ranking, /patient/{id}/explain with SHAP and temporal attention.
React dashboard live: ranked risk board, 5 scenario simulations, threshold tuner with NEWS2 comparison, alert stream.
Explainability verified: SpO2, respiratory rate and systolic BP rank as top drivers; causal interpolation with no future leakage.
5

## Slide 8
P.A. COLLEGE OF ENGINEERING
DEPARTMENT OF COMPUTER SCIENCE & ENGINEERING
FUTURE ROADMAP
Prospective validation, calibration reporting and clinician review before any clinical use (research prototype only).
Migrate training to MIMIC-IV / eICU for larger modern cohort with fairness and subgroup analysis.
Upgrade to Temporal Fusion Transformer for longer histories and improved temporal modeling.
Multimodal fusion: integrate clinical notes with BioBERT alongside vitals and labs.
Federated learning across hospitals with TinyML edge deployment for privacy-preserving monitoring.
Mistake-driven retraining loop: queue confirmed misses and false alarms into weighted retraining with fresh-holdout gating.
6

## Slide 9: REFERENCES
[1] Z. Zheng et al., "Development and Validation of a Dynamic Real-Time Risk Prediction Model for ICU Patients," J. Med. Internet Res., vol. 27, e69293, 2025. (Base paper)
[2] T. I. Alshwaheen et al., "Novel Framework of Patient Deterioration Prediction in ICU Based on LSTM-RNN," IEEE Access, vol. 9, 2021.
[3] E. Choi et al., "Deep Interpretable Early Warning System for Detection of Clinical Deterioration," IEEE J. Biomed. Health Informat., vol. 24, no. 9, 2020.
[4] Y. Li et al., "Attention Residual LSTM-FCN for Inpatient Mortality Prediction," IEEE Access, vol. 13, 2025.
[5] PULSE-ICU: Pretrained Unified Long-Sequence Encoder for Multi-task ICU Prediction, arXiv:2511.22199, 2025.
[6] GARLIC: Graph Attention-based Relational Learning of Multivariate Time Series in ICU, arXiv:2608.10969, 2026.
[7] Z. Yan et al., "Deep learning-based in-hospital mortality prediction using long-term sequential ICU data," PeerJ, vol. 14, e21631, 2026.
[8] M. R. Scheid et al., "Clinical wearable deep learning based continuous deterioration prediction," Nature Commun., vol. 16, 9513, 2025.
[9] PhysioNet/Computing in Cardiology Challenge 2012: Predicting Mortality of ICU Patients (4,000 stays, 37 variables).
[10] L. Wang et al., "Expert Augmented Prediction of Circulatory and Respiratory Instability," npj Digit. Med., 2026.
2024-25

## Slide 10: THANK YOU